{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["データ1次","データ2次","設定値"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"データ1次","index":0,"n_rows":282,"n_cols":4,"rows_kept":282,"cut":false,"hidden":false,"merged":[]}
["時刻","モード","温度1","温度2"]
["2008-01-20T09:00:00",0,50.02,16]
["2008-01-20T09:01:00",0,50.01,16.7]
["2008-01-20T09:02:00",0,50.01,17.3]
["2008-01-20T09:03:00",1,50,18.100000000000001]
["2008-01-20T09:04:00",1,50.67,18.5]
["2008-01-20T09:05:00",1,51.15,18.7]
["2008-01-20T09:06:00",1,51.49,19]
["2008-01-20T09:07:00",1,51.89,19.3]
["2008-01-20T09:08:00",1,52.02,19.399999999999999]
["2008-01-20T09:09:00",1,52.14,19.600000000000001]
["2008-01-20T09:10:00",1,52.15,19.5]
["2008-01-20T09:11:00",1,52.16,19.399999999999999]
["2008-01-20T09:12:00",1,52.18,19.5]
["2008-01-20T09:13:00",1,52.18,19.600000000000001]
["2008-01-20T09:14:00",1,52.19,19.7]
["2008-01-20T09:15:00",1,52.2,19.600000000000001]
["2008-01-20T09:16:00",1,52.21,19.600000000000001]
["2008-01-20T09:17:00",1,52.23,19.5]
["2008-01-20T09:18:00",1,52.05,19.399999999999999]
["2008-01-20T09:19:00",1,51.91,19.3]
["2008-01-20T09:20:00",1,51.69,19.3]
["2008-01-20T09:21:00",1,51.47,19.2]
["2008-01-20T09:22:00",1,51.23,19.2]
["2008-01-20T09:23:00",1,51.1,19.2]
["2008-01-20T09:24:00",2,51.03,19.3]
["2008-01-20T09:25:00",2,51.01,19]
["2008-01-20T09:26:00",2,50.99,19]
["2008-01-20T09:27:00",2,50.97,18.899999999999999]
["2008-01-20T09:28:00",2,50.94,18.899999999999999]
["2008-01-20T09:29:00",2,50.91,18.7]
["2008-01-20T09:30:00",1,50.86,18.7]
["2008-01-20T09:31:00",1,50.78,18.399999999999999]
["2008-01-20T09:32:00",1,50.72,18.2]
["2008-01-20T09:33:00",1,50.64,18]
["2008-01-20T09:34:00",1,50.58,17.899999999999999]
["2008-01-20T09:35:00",1,50.47,17.7]
["2008-01-20T09:36:00",1,50.41,17.600000000000001]
["2008-01-20T09:37:00",1,50.3,17.5]
["2008-01-20T09:38:00",1,50.21,17.399999999999999]
["2008-01-20T09:39:00",1,50.07,17.2]
["2008-01-20T09:40:00",1,50,17.100000000000001]
["2008-01-20T09:41:00",0,50.02,16.7]
["2008-01-20T09:42:00",0,50.02,16.600000000000001]
["2008-01-20T09:43:00",0,50.01,16.5]
["2008-01-20T09:44:00",0,50.02,16.399999999999999]
["2008-01-20T09:45:00",0,50,16.2]
["2008-01-20T09:46:00",0,50.01,16.100000000000001]
["2008-01-20T09:47:00",0,50.01,15.8]
["2008-01-20T09:48:00",0,50.01,15.7]
["2008-01-20T09:49:00",0,50.01,15.6]
["2008-01-20T09:50:00",0,50,15.5]
["2008-01-20T09:51:00",0,50,15.4]
["2008-01-20T09:52:00",0,50.01,15.1]
["2008-01-20T09:53:00",0,50.01,14.7]
["2008-01-20T09:54:00",0,50.01,14.6]
["2008-01-20T09:55:00",0,50.02,14.6]
["2008-01-20T09:56:00",0,50.02,14.4]
["2008-01-20T09:57:00",0,50.02,14.1]
["2008-01-20T09:58:00",0,50.01,13.7]
["2008-01-20T09:59:00",0,50.01,13.7]
["2008-01-20T10:00:00",0,50.01,13.6]
["2008-01-20T10:01:00",0,50.01,13.6]
["2008-01-20T10:02:00",0,50.02,13.4]
["2008-01-20T10:03:00",0,50.01,13.3]
["2008-01-20T10:04:00",0,50.01,13.3]
["2008-01-20T10:05:00",0,50.01,13.1]
["2008-01-20T10:06:00",0,50.02,12.8]
["2008-01-20T10:07:00",0,50.02,12.8]
["2008-01-20T10:08:00",0,50.01,12.6]
["2008-01-20T10:09:00",0,50.01,12.3]
["2008-01-20T10:10:00",0,50.01,12.2]
["2008-01-20T10:11:00",0,50.01,12.1]
["2008-01-20T10:12:00",0,50.01,12]
["2008-01-20T10:13:00",0,50.01,11.7]
["2008-01-20T10:14:00",0,50.01,11.6]
["2008-01-20T10:15:00",0,50.02,11.3]
["2008-01-20T10:16:00",1,50,11.1]
["2008-01-20T10:17:00",1,50.74,11.1]
["2008-01-20T10:18:00",1,51.03,11]
["2008-01-20T10:19:00",1,51.57,10.8]
["2008-01-20T10:20:00",1,51.85,10.7]
["2008-01-20T10:21:00",1,52.03,10.7]
["2008-01-20T10:22:00",1,52.13,10.7]
["2008-01-20T10:23:00",1,52.14,10.5]
["2008-01-20T10:24:00",1,52.14,10.6]
["2008-01-20T10:25:00",1,52.15,10.4]
["2008-01-20T10:26:00",1,52.15,10.3]
["2008-01-20T10:27:00",1,52.16,10.199999999999999]
["2008-01-20T10:28:00",1,52.17,10.199999999999999]
["2008-01-20T10:29:00",1,52.17,10]
["2008-01-20T10:30:00",2,52.17,10.199999999999999]
["2008-01-20T10:31:00",2,52.18,10.199999999999999]
["2008-01-20T10:32:00",2,52.19,10.199999999999999]
["2008-01-20T10:33:00",2,52.19,10.3]
["2008-01-20T10:34:00",2,52.2,10.3]
["2008-01-20T10:35:00",2,52.21,10.199999999999999]
["2008-01-20T10:36:00",1,52.21,10.3]
["2008-01-20T10:37:00",1,52.22,10.3]
["2008-01-20T10:38:00",1,52.03,10.199999999999999]
["2008-01-20T10:39:00",1,51.85,10.199999999999999]
["2008-01-20T10:40:00",1,51.71,10.1]
["2008-01-20T10:41:00",1,51.42,10]
["2008-01-20T10:42:00",1,51.24,9.9]
["2008-01-20T10:43:00",1,51.09,9.8000000000000007]
["2008-01-20T10:44:00",1,51.03,9.9]
["2008-01-20T10:45:00",1,51,10.199999999999999]
["2008-01-20T10:46:00",1,50.99,10.199999999999999]
["2008-01-20T10:47:00",1,50.97,10.4]
["2008-01-20T10:48:00",1,50.94,10.199999999999999]
["2008-01-20T10:49:00",1,50.9,10.199999999999999]
["2008-01-20T10:50:00",1,50.86,10.6]
["2008-01-20T10:51:00",1,50.8,10.7]
["2008-01-20T10:52:00",1,50.71,10.8]
["2008-01-20T10:53:00",1,50.66,10.8]
["2008-01-20T10:54:00",1,50.58,10.8]
["2008-01-20T10:55:00",1,50.46,10.9]
["2008-01-20T10:56:00",1,50.38,10.9]
["2008-01-20T10:57:00",1,50.3,11.1]
["2008-01-20T10:58:00",1,50.2,11]
["2008-01-20T10:59:00",1,50.06,11.3]
["2008-01-20T11:00:00",1,50,11.3]
["2008-01-20T11:01:00",0,50.02,11.7]
["2008-01-20T11:02:00",0,50.02,11.8]
["2008-01-20T11:03:00",0,50.01,12]
["2008-01-20T11:04:00",0,50,12.2]
["2008-01-20T11:05:00",0,50.01,12.3]
["2008-01-20T11:06:00",0,50.01,12.4]
["2008-01-20T11:07:00",0,50.02,12.5]
["2008-01-20T11:08:00",0,50.01,12.6]
["2008-01-20T11:09:00",0,50.01,12.7]
["2008-01-20T11:10:00",0,50.02,12.9]
["2008-01-20T11:11:00",0,50.02,13]
["2008-01-20T11:12:00",0,50.01,13.2]
["2008-01-20T11:13:00",0,50.01,13.2]
["2008-01-20T11:14:00",1,50,13.2]
["2008-01-20T11:15:00",1,50.62,13.4]
["2008-01-20T11:16:00",1,50.97,13.7]
["2008-01-20T11:17:00",1,51.35,13.7]
["2008-01-20T11:18:00",1,51.59,14.2]
["2008-01-20T11:19:00",1,51.85,14.3]
["2008-01-20T11:20:00",1,51.93,14.6]
["2008-01-20T11:21:00",1,51.93,14.9]
["2008-01-20T11:22:00",1,51.94,14.7]
["2008-01-20T11:23:00",1,51.95,14.8]
["2008-01-20T11:24:00",1,51.95,15]
["2008-01-20T11:25:00",1,51.97,15.1]
["2008-01-20T11:26:00",1,51.99,15.1]
["2008-01-20T11:27:00",1,52,15.6]
["2008-01-20T11:28:00",2,52,15.8]
["2008-01-20T11:29:00",2,52.03,15.9]
["2008-01-20T11:30:00",2,51.9,16.2]
["2008-01-20T11:31:00",2,51.68,16.5]
["2008-01-20T11:32:00",2,51.52,16.600000000000001]
["2008-01-20T11:33:00",2,51.23,16.600000000000001]
["2008-01-20T11:34:00",1,51.09,16.8]
["2008-01-20T11:35:00",1,51.01,17]
["2008-01-20T11:36:00",1,51,17.100000000000001]
["2008-01-20T11:37:00",1,50.99,17.2]
["2008-01-20T11:38:00",1,50.98,17.5]
["2008-01-20T11:39:00",1,50.94,17.600000000000001]
["2008-01-20T11:40:00",1,50.91,17.600000000000001]
["2008-01-20T11:41:00",1,50.86,17.8]
["2008-01-20T11:42:00",1,50.78,17.899999999999999]
["2008-01-20T11:43:00",1,50.72,18.100000000000001]
["2008-01-20T11:44:00",1,50.65,18.399999999999999]
["2008-01-20T11:45:00",1,50.57,18.399999999999999]
["2008-01-20T11:46:00",1,50.47,18.5]
["2008-01-20T11:47:00",1,50.4,18.600000000000001]
["2008-01-20T11:48:00",1,50.29,18.8]
["2008-01-20T11:49:00",1,50.19,18.8]
["2008-01-20T11:50:00",1,50.06,18.899999999999999]
["2008-01-20T11:51:00",1,50,19]
["2008-01-20T11:52:00",0,50.01,19]
["2008-01-20T11:53:00",0,50.01,19.3]
["2008-01-20T11:54:00",0,50.01,19.399999999999999]
["2008-01-20T11:55:00",0,50.01,19.600000000000001]
["2008-01-20T11:56:00",0,50.01,19.7]
["2008-01-20T11:57:00",0,50,19.7]
["2008-01-20T11:58:00",0,50.01,19.5]
["2008-01-20T11:59:00",0,50.01,19.7]
["2008-01-20T12:00:00",0,50.01,19.7]
["2008-01-20T12:01:00",0,50.01,19.7]
["2008-01-20T12:02:00",0,50.01,19.7]
["2008-01-20T12:03:00",0,50.02,19.899999999999999]
["2008-01-20T12:04:00",0,50.01,20]
["2008-01-20T12:05:00",0,50.02,19.899999999999999]
["2008-01-20T12:06:00",0,50.01,19.899999999999999]
["2008-01-20T12:07:00",0,50.01,20]
["2008-01-20T12:08:00",0,50.01,20.2]
["2008-01-20T12:09:00",0,50.02,20.2]
["2008-01-20T12:10:00",0,50.01,20.2]
["2008-01-20T12:11:00",1,50,20.100000000000001]
["2008-01-20T12:12:00",1,50.57,20.2]
["2008-01-20T12:13:00",1,51.14,20.100000000000001]
["2008-01-20T12:14:00",1,51.57,20.100000000000001]
["2008-01-20T12:15:00",1,51.86,20]
["2008-01-20T12:16:00",1,52.01,19.8]
["2008-01-20T12:17:00",1,52.13,19.8]
["2008-01-20T12:18:00",1,52.15,19.899999999999999]
["2008-01-20T12:19:00",1,52.16,19.899999999999999]
["2008-01-20T12:20:00",1,52.18,19.8]
["2008-01-20T12:21:00",1,52.19,19.7]
["2008-01-20T12:22:00",1,52.21,19.7]
["2008-01-20T12:23:00",1,52.22,19.600000000000001]
["2008-01-20T12:24:00",1,52.23,19.399999999999999]
["2008-01-20T12:25:00",1,52.23,19.3]
["2008-01-20T12:26:00",1,52.07,19.2]
["2008-01-20T12:27:00",1,51.84,19.100000000000001]
["2008-01-20T12:28:00",2,51.67,19]
["2008-01-20T12:29:00",2,51.49,18.8]
["2008-01-20T12:30:00",2,51.24,18.600000000000001]
["2008-01-20T12:31:00",2,51.12,18.5]
["2008-01-20T12:32:00",2,51.04,18.2]
["2008-01-20T12:33:00",2,51,18.3]
["2008-01-20T12:34:00",1,50.99,18.2]
["2008-01-20T12:35:00",1,50.97,18]
["2008-01-20T12:36:00",1,50.93,18]
["2008-01-20T12:37:00",1,50.9,17.8]
["2008-01-20T12:38:00",1,50.86,17.5]
["2008-01-20T12:39:00",1,50.78,17.5]
["2008-01-20T12:40:00",1,50.72,17.100000000000001]
["2008-01-20T12:41:00",1,50.64,16.899999999999999]
["2008-01-20T12:42:00",1,50.58,16.8]
["2008-01-20T12:43:00",1,50.46,16.7]
["2008-01-20T12:44:00",1,50.38,16.5]
["2008-01-20T12:45:00",1,50.3,16.3]
["2008-01-20T12:46:00",1,50.2,16]
["2008-01-20T12:47:00",1,50.08,15.7]
["2008-01-20T12:48:00",1,50,15.6]
["2008-01-20T12:49:00",0,50.01,15.6]
["2008-01-20T12:50:00",0,50.01,15.6]
["2008-01-20T12:51:00",0,50.01,15.3]
["2008-01-20T12:52:00",0,50,15.2]
["2008-01-20T12:53:00",0,50,15]
["2008-01-20T12:54:00",0,50,14.8]
["2008-01-20T12:55:00",0,50.01,14.8]
["2008-01-20T12:56:00",0,50.01,14.6]
["2008-01-20T12:57:00",0,50.01,14.6]
["2008-01-20T12:58:00",0,50.01,14.3]
["2008-01-20T12:59:00",0,50.01,14]
["2008-01-20T13:00:00",0,50.02,13.9]
["2008-01-20T13:01:00",0,50.02,13.8]
["2008-01-20T13:02:00",0,50.01,13.6]
["2008-01-20T13:03:00",1,50,13.4]
["2008-01-20T13:04:00",1,50.76,13]
["2008-01-20T13:05:00",1,51.08,12.9]
["2008-01-20T13:06:00",1,51.5,12.7]
["2008-01-20T13:07:00",1,51.89,12.6]
["2008-01-20T13:08:00",1,52.03,12.5]
["2008-01-20T13:09:00",1,52.13,12.3]
["2008-01-20T13:10:00",1,52.14,12.3]
["2008-01-20T13:11:00",1,52.15,12.2]
["2008-01-20T13:12:00",1,52.15,11.9]
["2008-01-20T13:13:00",1,52.16,11.7]
["2008-01-20T13:14:00",1,52.17,11.7]
["2008-01-20T13:15:00",1,52.18,11.5]
["2008-01-20T13:16:00",1,52.19,11.4]
["2008-01-20T13:17:00",1,52.21,11.3]
["2008-01-20T13:18:00",2,52.01,11.3]
["2008-01-20T13:19:00",2,51.91,11.3]
["2008-01-20T13:20:00",2,51.69,11.4]
["2008-01-20T13:21:00",2,51.52,11.2]
["2008-01-20T13:22:00",2,51.31,10.9]
["2008-01-20T13:23:00",2,51.12,10.9]
["2008-01-20T13:24:00",1,51.04,10.8]
["2008-01-20T13:25:00",1,51,10.8]
["2008-01-20T13:26:00",1,50.99,10.6]
["2008-01-20T13:27:00",1,50.98,10.6]
["2008-01-20T13:28:00",1,50.94,10.7]
["2008-01-20T13:29:00",1,50.9,10.6]
["2008-01-20T13:30:00",1,50.86,10.4]
["2008-01-20T13:31:00",1,50.78,10.199999999999999]
["2008-01-20T13:32:00",1,50.71,10.199999999999999]
["2008-01-20T13:33:00",1,50.66,10.1]
["2008-01-20T13:34:00",1,50.58,9.9]
["2008-01-20T13:35:00",1,50.48,10]
["2008-01-20T13:36:00",1,50.4,10.1]
["2008-01-20T13:37:00",1,50.27,10.1]
["2008-01-20T13:38:00",1,50.16,10.1]
["2008-01-20T13:39:00",1,50.09,10.3]
["2008-01-20T13:40:00",1,50,10.3]

{"sheet":"データ2次","index":1,"n_rows":6,"n_cols":51,"rows_kept":6,"cut":false,"hidden":false,"merged":[]}
["バッチ開始の時刻","バッチ終了の時刻","バッチの時間(分)","前のバッチの終了からの時間","温度1_51度_上向き_1回目到達時間（分）","温度1_51.5度_上向き_1回目到達時間（分）","温度1_52度_上向き_1回目到達時間（分）","温度1_52度_下向き_1回目到達時間（分）","温度1_51度_下向き_1回目到達時間（分）","モード_バッチ開始の値","モード_バッチ終了の値","モード_バッチの最大値","モード_バッチの最小値","モード_5分後","モード_10分後","モード_15分後","モード_20分後","モード_30分後","モード_51度上向き1回目","モード_51.5度上向き1回目","モード_52度上向き1回目","モード_52度下向き1回目","モード_51度下向き1回目","温度1_バッチ開始の値","温度1_バッチ終了の値","温度1_バッチの最大値","温度1_バッチの最小値","温度1_5分後","温度1_10分後","温度1_15分後","温度1_20分後","温度1_30分後","温度1_51度上向き1回目","温度1_51.5度上向き1回目","温度1_52度上向き1回目","温度1_52度下向き1回目","温度1_51度下向き1回目","温度2_バッチ開始の値","温度2_バッチ終了の値","温度2_バッチの最大値","温度2_バッチの最小値","温度2_5分後","温度2_10分後","温度2_15分後","温度2_20分後","温度2_30分後","温度2_51度上向き1回目","温度2_51.5度上向き1回目","温度2_52度上向き1回目","温度2_52度下向き1回目","温度2_51度下向き1回目"]
["2008-01-20T09:03:00","2008-01-20T09:40:00",37.000000225380063,null,2.000000016996637,4.000000033993274,5.0000001210719347,16.000000135973096,23.000000116880983,1,1,2,1,1,1,1,1,1,1,1,1,1,2,50,50,52.23,50,52.02,52.18,52.05,51.1,50.64,51.15,51.89,52.02,51.91,50.99,18.100000000000001,17.100000000000001,19.7,17.100000000000001,19.399999999999999,19.600000000000001,19.399999999999999,19.2,18,18.7,19.3,19.399999999999999,19.3,19]
["2008-01-20T10:16:00","2008-01-20T11:00:00",44.00000020628795,36.000000002095476,2.000000016996637,3.0000000935979187,5.0000001105945557,23.000000116880983,29.000000157393515,1,1,2,1,1,1,2,1,1,1,1,1,1,1,50,50,52.22,50,52.03,52.15,52.18,52.21,50.99,51.03,51.57,52.03,51.85,51,11.1,11.3,11.3,9.8000000000000007,10.7,10.3,10.199999999999999,10.3,10.199999999999999,11,10.8,10.7,10.199999999999999,10.199999999999999]
["2008-01-20T11:14:00","2008-01-20T11:51:00",37.000000078696758,14.000000118976459,2.9999999469146132,3.9999998873099685,13.000000031897798,15.999999978812411,22.000000029802322,1,1,2,1,1,1,2,1,1,1,1,1,2,1,50,50,52.03,50,51.93,51.97,52.03,51.09,50.65,51.35,51.59,52,51.9,51,13.2,19,19,13.2,14.6,15.1,15.9,16.8,18.399999999999999,13.7,14.2,15.6,16.2,17.100000000000001]
["2008-01-20T12:11:00","2008-01-20T12:48:00",37.000000078696758,20.000000012805685,2.000000016996637,3.0000000935979187,5.0000001105945557,16.000000125495717,22.000000029802322,1,1,2,1,1,1,1,2,1,1,1,1,1,2,50,50,52.23,50,52.01,52.19,52.07,51.12,50.64,51.14,51.57,52.01,51.84,51,20.100000000000001,15.6,20.2,15.6,19.8,19.7,19.2,18.5,16.899999999999999,20.100000000000001,20.100000000000001,19.8,19.100000000000001,18.3]
["2008-01-20T13:03:00",null,null,15.000000195577741,1.9999998703133315,2.9999999469146132,4.9999999639112502,15.999999978812411,22.000000029802322,1,null,null,null,1,1,2,2,1,1,1,1,2,1,50,null,null,null,52.13,52.17,52.01,51.12,50.66,51.08,51.5,52.03,51.91,51,13.4,null,null,null,12.3,11.7,11.3,10.9,10.1,12.9,12.7,12.5,11.3,10.8]

{"sheet":"設定値","index":2,"n_rows":18,"n_cols":4,"rows_kept":18,"cut":false,"hidden":false,"merged":[]}
[]
["バッチ判定データの判定値",0.5]
[]
["時間ポイント","分後"]
["時間ポイント1",5]
["時間ポイント2",10]
["時間ポイント3",15]
["時間ポイント4",20]
["時間ポイント5",30]
[]
["監視ポイント","値","向き","回目"]
["監視ポイント1",51,"上",1]
["監視ポイント2",51.5,"上",1]
["監視ポイント3",52,"上",1]
["監視ポイント4",52,"下",1]
["監視ポイント5",51,"下",1]
[]
["監視ポイントの単位","度"]